## Slide 1
Colorado State University Antenna Test Range
5-Element Patch Antenna Array
Background
Radiation pattern is a key characteristic of an antenna
  Can be altered by power or phase fed to antenna
Arraying antennas will create a more directed main beam
Found in satellite communications, wireless networks, and radar systems
Objective
Design antenna array consisting of 5 patch antennas
Operate in phase within the X-band (8 GHz - 12 GHz)
Manufacture broadside array and test using the CSU ATR
Procedure
Design an individual patch to operate in X-Band
  Simulate in WIPL-D to visualize radiation pattern
Add the individual patch into a 5-element array setup
Manufacture PCB with Advanced Circuits
Measure antenna array in ATR
Results
Objective was met as the two plots appear very similar, indicating that the measured radiation pattern matches the theoretical radiation pattern at a frequency of 9 GHz which is the X-band.
Objectives
Antenna aperture wasn’t at center of rotation, affected scan quality
Integrate MRI coil mounting system for MRI team
Designing the New Mount
Reduced costs by reusing parts (motor, bearings, hardware)
New mounting system designed in three components, MRI specific, frame, antenna mount
MRI specific mount and frame were made of wood
Stress analysis performed, frame can hold significant weight
Antenna mount designed to be used with several antenna types and sizes
Mount 3d printed, weight was optimized
Result
Verified scan accuracy improved
Data obtained for MRI team and patch array
Mount too heavy for motor config., weaker than motor rating
Antenna Mount
Future
Outreach and education
Increased stability of the vertical wall motor
Increase the number of redundancy systems for the measured antenna and motor system
Increase the quality and power output of current motor controller boards
What is the ATR
Objective:
Improve documentation of ATR
Understand the mechanical function of ATR
Identify possible errors and inaccuracies
Scanning Evaluation:
Improve reliability of mechanical systems and increase accuracy of elevation, azimuth, vertical, and polarization scans
Mechanical Evaluation:
Support structures:
  Conduct static and dynamic tests on the structural components and motor system for accuracy and quality of life purposes
Traversal system for antennas:
  Determine range of motion and degree of freedom of ATR
Storage/Equipment Protection Evaluation:
Protection from static shock and power surges
No redundant data storage
No ability for remote scanning
Results:
Conducting a functional analysis allowed the ATR team to achieve the stated objective and develop documentation of the ATR for future teams. Additionally, the team identified areas of concern and addressed the areas including:
Redesign antenna mounting system
Replaced motor controllers
Implemented SQL server express for data searching
Used google drive for 15GB of redundant data storage
Quality of life
Raspberry Pi for remote viewing
Added a relay to the motor controller
Installed an SQL server instance
Created a redundant storage system
Designed new motor controller case
Functional Evaluation
Advisor: Dr. Branislav Notaros
EIR: Bob Thelen
VIP: Dr. Milan Ilic
Contributors
WIPL-D Simulated Radiation Pattern at 9 GHz
WIPL-D Simulated Radiation Pattern at 9 GHz
CSU ATR Measured Radiation Pattern at 9 GHz
Technologies used:
C#/C++
MATLAB
WIPL-D
SQL
PowerShell
ANSYS Workbench
Raspberry Pi
Arduino Uno
PNA
Motors/Controllers
During this semester, significant changes made to the ATR include:
Anechoic chamber
  New antenna mount
  Creation of phased array antenna
PNA/Motor controller
  Relay installation and motor controller replacement
Software
  Near-to-far field transform
An ATR consists of a room with metal sheeting to operate as a faraday cage with electromagnetic absorbent foam spikes to absorb any internal reflection.
Near-field to Far-field Transformation
MRI Mount on Frame
Antenna Mount CAD Model
Azimuth scan of horn antenna (Left: before modifications of ATR; Right: after modifications of ATR)
Project team members:
Parker Segelhorst (CE),
Adam Hulse (EE),
Donovan Wells (ME),
Owen Dietrich (ME),
Josh Barber (CE)
Software Design
Objectives
Transform
Important Visual Components
  r’ ≡ Unit Direction Vector to Near-field from Antenna
  ir ≡ Unit Direction Vector to Far-field from Scan Point
  θ ≡ Angle Between Normal Vector and Far-field Point
  n’ ≡ Unit Normal Vector of Scan Point
  Q ≡ Central Far-field Point (θ=0°)
Convert a near-field radiation pattern into a far-field radiation pattern using a discrete computational algorithm
Provide an easy-to-use software for future CSU ATR teams to transform, measure, and plot various simulated and measured electromagnetic fields
Observations
  Each transformed point needs to be multiplied by 5 because the rectangular mesh occupies only ⅙ of the total surface
  The field curl can be approximated, but the transform becomes less accurate the closer the far-field point gets
Future Work
  The transform can be implemented with spherical and cylindrical scans, not just cartesian
  More scans from the ATR can be transformed, including not just the Y-component, but the X and Z components
Results
Error | 10m Far-field | 10Mm Far-field
Range Error | 18.9% | ~0%
Max Error | 1.17% | 43.8%
Min Error | 11.0% | ~0%
Software Capabilities
The Software was designed to provide an easy-to-use multi-tool for ATR data interpretation and manipulation
Computational
  Theta and & Phi Axis Transformations
  Polynomial Regression Line Fitting
  Simulated and Measured Data Interpretation
Visual
  2D & 3D Heatmaps
  Polar Radiation Pattern Plots
  Cartesian Radiation Pattern Plots
The conversion of a near-field to far-field radiation pattern was successful with a relatively small margin of error
Original Field
10Mm Transform
10m Transform
Magnetic-field
Electric-field
Cartesian Plot